## Slide 1: Calculation of detector acceptance for measuring muon lifetime in MuSIC beam test by GEANT4
Kuno-Group D1
Nguyen Duy Thong

## Slide 2: Outline
Introduction
Results
Summary

## Slide 3: Introduction
MuSIC facility

## Slide 4
The process in MuSIC facility:
At first, protons are accelerated in the MuSIC facility.
Then, they will impact with a target to produce p+ or p–.
m+, m– are emitted in p+, p– in the decay process.
Last, particles will be detected by detector.

## Slide 5
proton
target
pion
muon
detector
Particles (m+, m–) are detected by a detector with 2 scintillators and 1 target.

## Slide 6
The detector consists of 2 scintillators and 1 target.
  2 scintillators have same size 380x50x3.5 mm3
  Target is made of Mg.
  The size of target: 370x80x20mm3

## Slide 7
In this study, by using Geant4 simulation:
First, without using dipole magnetic-field(By=0T), the acceptance of detector is determined.
Using dipole magnetic-field (By = ±0.04T), evaluate the acceptances of detector.

## Slide 8: Motivation
Evaluate efficiency of muon between beamline and captured muon.
Consider about detector acceptance. Detector acceptance is defined as ratio between number of detected e+ or e– and number of incident m+ or m–at detector.

## Slide 9: Results
For By=0T,

## Slide 12
0.1mA-proton beam impacts with target, from Geant4, some results were calculated
 | Beamline | Sci 1 | Sci 2
p＋ | 4949 | 663 | 187
pー | 1249 | 130 | 38
m＋ | 10128 | 1530 | 352
mー | 2024 | 277 | 68
e＋ | 0 | 335 | 212
eー | 0 | 335 | 329
The efficiency of m

## Slide 13
The detector acceptance

## Slide 14
For By=+0.04T
 | Beamline | Sci 1 | Sci 2
p＋ | 1957 | 222 | 46
pー | 1550 | 315 | 125
m＋ | 5461 | 690 | 149
mー | 2306 | 402 | 131
e＋ | 0 | 441 | 274
eー | 0 | 382 | 219
The efficiency of m

## Slide 15
The detector acceptance

## Slide 16
For By=–0.04T
 | Beamline | Sci 1 | Sci 2
p＋ | 7745 | 1232 | 400
pー | 545 | 57 | 10
m＋ | 13073 | 2158 | 564
mー | 1248 | 139 | 26
e＋ | 0 | 1269 | 847
eー | 0 | 709 | 363
The efficiency of m

## Slide 17
The detector acceptance

## Slide 18: Summary
In this research, with 0.1mA-proton beam, numbers of p+,p–,m+,m–,e+,eー were estimated
The detector acceptances were calculated.
Next step
Some features need to be improved to ensure simulation better.

## Slide 19: Thank you for your attention

## Slide 20: Backup

## Slide 26
By = 0T | Beamline | Sci 1 | Stop at Sci1 | Sci 2 | Stop at Sci2
p＋ | 4949 | 663 | 44 | 187 | 34
pー | 1249 | 130 | 16 | 38 | 7
m＋ | 10128 | 1530 | 444 | 352 | 73
mー | 2024 | 277 | 43 | 68 | 12
e＋ | 0 | 335 | 16 | 212 | 5
eー | 0 | 335 | 0 | 329 | 0

## Slide 27
By=+0.04T | Beamline | Sci 1 | Stop at Sci 1 | Sci 2 | Stop at Sci 2
p＋ | 1957 | 222 | 16 | 46 | 13
pー | 1550 | 315 | 9 | 125 | 10
m＋ | 5461 | 690 | 188 | 149 | 36
mー | 2306 | 402 | 50 | 131 | 11
e＋ | 0 | 441 | 4 | 274 | 3
eー | 0 | 382 | 0 | 219 | 0

## Slide 28
By= ー0.04T | Beamline | Sci 1 | Stop at Sci1 | Sci 2 | Stop at Sci 2
p＋ | 7745 | 1232 | 73 | 400 | 27
pー | 545 | 57 | 4 | 10 | 1
m＋ | 13073 | 2158 | 496 | 564 | 90
mー | 1248 | 139 | 34 | 26 | 2
e＋ | 0 | 1269 | 14 | 847 | 9
eー | 0 | 709 | 0 | 363 | 0